## Slide 1
Evaluating the effectiveness of non-contact pressure monitoring via multispectral imaging using Kubelka-Munk approach

## Slide 2: Outline
Introduction
CTS
Normalization
  ROI
Table
Summary

## Slide 3: Introduction
2ndlook software
  Video recording software

## Slide 4: Cont…
Multi Spectral Imaging
  Captures image data within specific wavelength ranges
  Revealing details beyond human vision
Biomedical Multispectral Imaging System
Have 4 bands suitable for detecting hemoglobin and lipid
735, 800, 865, and 930 nm
Used for a number of analysis
oxygen saturation and total hemoglobin
Important for monitoring tissue health

## Slide 5: Cont…
Kubelka–Munk Theory
  The ratio of absorption to scatter
  K/S=/2R
Image Processing Techniques
  Median filtering
  Contrast enhancement
      Imadjust
      histeq
      adapthisteq
  Point operations

## Slide 6: Carpal Tunnel Syndrome (CTS)
  Caused by pressure on the median nerve
  Carpal tunnel is a narrow passageway formed by bones and ligaments

## Slide 7: Parameters
Standard Normal Variate (SNV): (Img-mean)/std
Kurtosis: A measure of whether the data are heavy-tailed or light-tailed relative to a normal distribution
Skewness: Measure of symmetry
Energy: Refers to the amount of information or the "smoothness" of the image
Entropy: Measures the amount of uncertainty or randomness in an image
Power Spectral Density (PSD)
Resolution: width per pixel
FDR: Fisher Discriminant ration

## Slide 8: Patient Details(Subject#9)
Age:76
Gender:Female
Left: Pressure
Right: Normal
Resolution:0.012 cm/px
Exp date: 12/03/25

## Slide 9: Image Processing Techniques
Imadjust function for contrast enhancement
Median Filter
Imlocalbrighten and
Some point operations

## Slide 10: Normalization (ROI)

## Slide 11: Average (n=26) Si Images @930 nm

## Slide 12: Avg Si of 26 images
Fused Image without SNV 47.44±4.23|58.93±5.69

## Slide 13: Avg SI Vs. wavelength

## Slide 14: Normal Vs. CTS hand (735 nm)

## Slide 15: Normal Vs. CTS hand (800 nm)

## Slide 16: Normal Vs. CTS hand (865 nm)

## Slide 17: Normal Vs. CTS hand (930 nm)

## Slide 18: Fused Images
It is average image of all wavelength

## Slide 19: Fused Normal Vs. CTS Images (Without SNV)

## Slide 20: Fused Normal Vs. CTS Images (With SNV)

## Slide 21: Relative Difference (threshold above 10%)
wavelength | 735 nm |  |  | 800 nm |  |  | 865 nm |  |  | 930 nm |  |  | Fused (Without SNV) |  |  | Fused (With SNV) |  | 
Params | Normal | CTS | Change(%) | Normal | CTS | Change(%) | Normal | CTS | Change(%) | Normal | CTS | Change(%) | Normal | CTS | Change(%) | Normal | CTS | Change(%)
Mean | 89.76 | 95.97 | 6.91 | 87.1 | 97.14 | 11.52 | 88.94 | 94.99 | 6.8 | 90.88 | 98.2 | 8.05 | 22.72 | 24.55 | 8.05 | 0 | 0 | 0
Std | 16.81 | 16.07 | 4.38 | 18.54 | 17.16 | 7.47 | 17.69 | 15.86 | 10.37 | 18.33 | 16.94 | 7.61 | 4.58 | 4.23 | 7.61 | 1 | 1 | 0
Skewness | 1.34 | 2.17 | 62.27 | 1.31 | 2.02 | 53.97 | 1.65 | 2.17 | 31.04 | 1.55 | 1.92 | 23.86 | 1.53 | 2.01 | 31.26 | 1.56 | 2.01 | 29.48
Kurtosis | 3.29 | 6.58 | 99.7 | 3.32 | 6.03 | 81.57 | 4.98 | 6.54 | 31.33 | 4.4 | 5.46 | 24.03 | 4.43 | 5.76 | 30.12 | 4.4 | 5.76 | 30.83
Entropy | 3.86 | 3.4 | 11.98 | 4 | 3.53 | 11.78 | 3.89 | 3.39 | 13.05 | 3.91 | 3.51 | 10.42 | 3.92 | 3.46 | 11.61 | 3.91 | 3.46 | 11.4
Energy | 179.52 | 191.94 | 6.91 | 174.21 | 194.27 | 11.52 | 177.89 | 189.98 | 6.8 | 181.76 | 196.4 | 8.05 | 45.44 | 49.1 | 8.05 | 0 | 0 | 0
PSD | 94.61 | 90.19 | 4.67 | 92.27 | 82.47 | 10.62 | 87.49 | 91.35 | 4.41 | 87.45 | 81.89 | 6.35 | 75.26 | 73.99 | 1.69 | 67.52 | 71.33 | 5.63
FDR |  |  | 1.59 |  |  | 2.04 |  |  | 0.59 |  |  | 1.09 |  |  | 1.09 |  |  | 0.00

## Slide 22: Summary(#9)
Kurtosis
Very high at 735 nm (99.7%) and 800 nm (81.57%)
Skewness
Peaks at 735 nm (62.27%), 800 nm (53.97%)
Entropy
Highest at 800 nm (11.78%), also relevant at 735 nm (11.94%) and 930 nm (10.42%)
Std
Elevated at 800 nm (7.47%), 865 nm (10.37%), and 930 nm (7.61%)

## Slide 23: FDR in all CTS
735 nm | 800 nm | 865 nm | 930 nm | Remarks
2 | 4 | 3 | 3 | No Img Proc.
3 | 5 | 0 | 5 | Img Proc.
5 | 9 | 3 | 8 | Total

## Slide 24
Thank you !