## Slide 1
Evaluating the effectiveness of non-contact pressure monitoring via multispectral imaging using Kubelka-Munk approach

## Slide 2: Outline
Introduction
Diabetic Foot
Normalization
  ROI
Table
Summary

## Slide 3: Introduction
2ndlook software
  Video recording software

## Slide 4: Cont…
Multi Spectral Imaging
  Captures image data within specific wavelength ranges
  Revealing details beyond human vision
Biomedical Multispectral Imaging System
Have 4 bands suitable for detecting hemoglobin and lipid
735, 800, 865, and 930 nm
Used for a number of analysis
oxygen saturation and total hemoglobin
Important for monitoring tissue health

## Slide 5: Cont…
Kubelka–Munk Theory
  The ratio of absorption to scatter
  K/S=/2R
Image Processing Techniques
  Median filtering
  Contrast enhancement
      Imadjust
      histeq
      adapthisteq
  Point operations

## Slide 6: Diabetic Foot
Too high blood glucose, or sugar level
Doppler is ratio between flow at brachial artery and the ankle
Normal ABI ranges from 1.0 — 1.4

## Slide 7: Parameters
Standard Normal Variate (SNV): (Img-mean)/std
Kurtosis: heavy/light-tailed relative to Normal Dist.
Skewness: Measure of symmetry
Energy: the amount of information
Mean
Std
Entropy: amount of uncertainty
Power Spectral Density (PSD)
Resolution: width per pixel
FDR: Fisher Discriminant Ration

## Slide 8: Patient Details(Subject#16)
Gender: Male
Saturation:
  left: 95
  right: 98
Age: 58
Left: Normal
Right: Pressure
Resolution: 0.004 cm/px
Distance:36 cm
Exp date: 25/02/25

## Slide 9: Normalization (ROI)

## Slide 10: Leg Position
Normal Foot Diabetic Foot

## Slide 11: Average (n=26) Si Images @930 nm

## Slide 12: Avg Si of 26 images
Fused Image without SNV 47.44±4.23|58.93±5.69

## Slide 13: Avg SI Vs. Wavelength

## Slide 14: Normal Vs. Diabetic Foot (735 nm)

## Slide 15: Normal Vs. Diabetic Foot (800 nm)

## Slide 16: Normal Vs. Diabetic Foot (865 nm)

## Slide 17: Normal Vs. Diabetic Foot (930 nm)

## Slide 18: Fused Images
It is average image of all wavelength

## Slide 19: Fused Normal Vs. Diabetic Images (Without SNV)

## Slide 20: Fused Normal Vs. Diabetic Images (With SNV)

## Slide 21: Relative Difference (threshold above 10%)
wavelength | 735 nm |  |  | 800 nm |  |  | 865 nm |  |  | 930 nm |  |  | Fused (Without SNV) |  |  | Fused (With SNV) |  | 
Params | Normal | Diabetic | Change(%) | Normal | Diabetic | Change(%) | Normal | Diabetic | Change(%) | Normal | Diabetic | Change(%) | Normal | Diabetic | Change(%) | Normal | Diabetic | Change(%)
Mean | 96.06 | 87.26 | 9.16 | 96.62 | 92.94 | 3.81 | 95.94 | 88.65 | 7.6 | 96.37 | 88.26 | 8.42 | 24.09 | 22.07 | 8.42 | 0 | 0 | 0
Std | 16.86 | 12.96 | 23.14 | 20.15 | 14.06 | 30.25 | 15.72 | 11.94 | 24.05 | 19.8 | 15.27 | 22.89 | 4.95 | 3.82 | 22.89 | 1 | 1 | 0
Skewness | 1.52 | 1.1 | 27.6 | 1.25 | 1.1 | 11.47 | 1.66 | 1.51 | 8.86 | 1.13 | 1.28 | 13.83 | 1.11 | 1.13 | 2.17 | 1.11 | 1.26 | 13.55
Kurtosis | 3.99 | 2.73 | 31.53 | 3.35 | 2.85 | 14.77 | 4.49 | 4.03 | 10.32 | 2.96 | 3.36 | 13.44 | 2.93 | 2.77 | 5.33 | 2.93 | 3.33 | 13.58
Entropy | 3.82 | 3.78 | 1.15 | 4.1 | 3.7 | 9.73 | 3.71 | 3.62 | 2.36 | 4.09 | 3.86 | 5.52 | 4.08 | 3.87 | 4.95 | 4.08 | 3.88 | 4.85
Energy | 192.12 | 174.52 | 9.16 | 193.25 | 185.88 | 3.81 | 191.89 | 177.3 | 7.6 | 192.75 | 176.52 | 8.42 | 48.19 | 44.13 | 8.42 | 0 | 0 | 0
PSD | 88.81 | 91.91 | 3.5 | 88.41 | 90.95 | 2.87 | 83.62 | 94.49 | 13 | 88.08 | 92.57 | 5.09 | 77.76 | 83.31 | 7.14 | 69.5 | 83.79 | 20.56
FDR |  |  | 0.67 |  |  | 0.07 |  |  | 0.50 |  |  | 0.41 |  |  |  | 0.41 |  | 0.00

## Slide 22: Summary(#16)
Std
Highest change: 30.25% at 800 nm
Also high at 865 nm (24.05%), 930 nm (22.89%), and Fused (Without SNV) (22.89%)
Kurtosis
Highest change: 31.53% at 735 nm
Also notable at 930 nm (13.44%) and Fused (With SNV) (13.58%)
Skewness
High change: 27.6% at 735 nm
Still notable at 930 nm (13.83%) and Fused (With SNV) (13.55%)

## Slide 23: FDR in all Diabetic Foot
735 nm | 800 nm | 865 nm | 930 nm | Remarks
4 | 5 | 7 | 3 | No Img Proc.
9 | 2 | 3 | 5 | Img Proc.
13 | 7 | 10 | 8 | Total

## Slide 24
Thank You !